## Risk Assessment - Master Sheet
Activity-Based Risk Assessment Form
| Name of Department | SSLS |  | Location of Lab |  | Nitrogen Cylinder Store
| Name of Laboratory | SSLS |  | Name of PI |  | Prof Mark Breese
| Name of Researcher/LO | Alaric Wong |  | Name of Activity/Experiment |  | Transportation and storage of chemicals
1. Hazard Identification | [7 empty] | 3. Risk Control
No | Description/Details of Steps in Activity | Hazards | Possible Accident / Ill Health & Persons-at-Risk | Existing Risk Control (Mitigation) | Severity | Likelihood (Probability) | Risk Level | Additional Risk Control | Person Responsible | By (Date)
1 | Transportation of single chemical bottle | Direct skin contact with chemical while holding bottle | Risk may range from skin irritation to serious skin burn. It is dependent on the type of chemical. Refer MSDS for the respective chemical for more information. | Always wear the correct chemical protection glove while transporting chemical bottle | 3 | 1 | 3
2 | Transportation of multiple chemical bottles | May drop chemical bottles onto floor and causing chemical spill while holding multiple chemical bottles with hands | May result in cuts from the broken glass bottles. Risk from chemicals may range from skin irritation to serious skin burn. It is dependent on the type of chemical. Refer MSDS for the respective chemical more information. | Always use a trolley to transport multiple chemical bottles | 3 | 1 | 3
3 | Transportation of single chemical squeeze bottle | Carrying squeeze bottle by the nozzle. Residual chemical may still be present at the opening of the nozzle which may result in direct skin contact with chemical. | Risk may range from skin irritation to serious skin burn. It is dependent on the type of chemical. Refer MSDS for the respective chemical for more information. | Always wear the correct chemical protection glove and eye protection while transporting chemical squeeze bottle | 3 | 1 | 3
|  | Carrying squeeze bottle by the nozzle. Nozzle may detached and squeeze bottle dropping onto floor causing chemical spill | Risk may range from skin irritation to serious skin burn. It is dependent on the type of chemical. Refer MSDS for the respective chemical for more information. | Always carry chemical squeeze bottle by its body and avoid squeezing its body to prevent chemicals from coming out. | 3 | 1 | 3
4 | Transportation of multiple chemical squeeze bottles | Carrying squeeze bottles by the their nozzles. Residual chemical may still be present at the opening of the nozzle which may result in direct skin contact with chemical. | Risk may range from skin irritation to serious skin burn. It is dependent on the type of chemical. Refer MSDS for the respective chemical for more information. | Always wear the correct chemical protection glove and eye protection while transporting chemical squeeze bottles | 3 | 1 | 3
|  | Carrying squeeze bottles by the nozzle. One of the nozzle may detached and squeeze bottle dropping onto floor causing chemical spill | Risk may range from skin irritation to serious skin burn. It is dependent on the type of chemical. Refer MSDS for the respective chemical for more information. | Always carry chemical squeeze bottles by using their secondary containment tray. | 3 | 1 | 3
5 | Storage of chemicals and waste chemicals | Storing chemical into bottle of wrong type of material. May result in chemical eating through the bottle and result in a chemical leak | Accidental skin contact with leaked chemicals may result in skin irritation to serious skin burn. It is dependent on the type of chemical. Refer MSDS for the respective chemical for more information. | Always storage chemical in bottles that are compatible with the chemical. Check the SDS and the material of the bottle for compatibility before use. All chemicals must be placed in secondary container to contain chemical leakage. | 3 | 1 | 3
|  | Mixing of different waste chemical into the same bottle | May cause chemical reaction. Risk may range from high heat generation to bottle breakage due to pressure built up from reaction. | All waste bottle clearly labelled with the type of waste content. Never mix incompatible chemical into the same bottle. Check SDS for the compatibility of the waste chemicals. | 3 | 1 | 3
| Conducted By | Alaric Wong |  | Approved By
|  |  |  | Name | Prof. Mark B H Breese
Signature
|  |  |  | Approval date |  | 2018-07-31 |  | Next Revision date | 2021-07-31
(Maximum 3 years)
Note on C3: Write Name of Your department
Note on C5: Write your laboratory name
Note on C7: Write your laboratory name
Note on G3: Location of Lab e.g. S9 # 05 - 04
Note on G5: Location of Lab e.g. S9 # 05 - 04
Note on G7: Name of the experiment e.g.. Distillation of THF
Note on G10: NUS: : (after consideration of mitigation)
Note on I27: NUS: At least once every three (3) years or; When there is changes to work process or; Incident / Accident

## Risk Ranking - Guide
|  | Likelihood |  |  | Risk = Likelihood x Severity
|  | Likely | Possibly | Unlikely | RISK | DECISION PROCESS
Severity | Low | 3 | 2 | 1 | < 3 | RISK ACCEPTABLE
| Med | 6 | 4 | 2 | 3, 4 | CONSIDER ADDITIONAL RISK CONTROL
| High | 9 | 6 | 3 | > 4 | ADDITIONAL RISK CONTROL REQUIRED
Likelihood
| 1 | Unlikely |  | Not likely to occur (has not occurred in the PI's Lab or similar Lab setup.)
| 2 | Possible |  | Possible or known to occur (has occurred in the PI's Lab or Similar Lab setup.)
| 3 | Very Likely |  | Common or repeating occurrence (has occurred repetitively in the PI's Lab or similar Lab setup.)
Severity
| 1 | Low |  | (e.g. No injury, injury or ill-health requiring first aid treatment only - includes minor cuts and bruises, irritation, ill-health with temporary discomfort)
| 2 | Medium |  | (e.g. Injury requiring medical treatment or ill-health leading to disability – includes lacerations, burns, sprains, minor fractures, dermatitis, deafness, work-related upper limb disorders)
| 3 | High |  | (e.g. Fatal, serious injury or life-treatening occupational disease – includes amputations, major fractures, multiple injuries, occupational cancer, acute poisoning and fatal diseases)
Severity - Consider the magnitude/severity of the consequences of the Risk Factor occurring and then list this as 3 (High), 2 (Moderate) or 1 (Low). Severity normally will not change unless there is a physical change to the equipment or process.
Likelihood - Team should rely upon their experience and consider realistic scenarios. Listed below are examples of factors that may be considered in determining the likelihood. - Past experience / incidents - Complexity of the activity - Number of personnel involved in the activity (e.g. all personnel, a limited number of trained personnel, etc) - Frequency of use or execution - Degree of control (involvement of contractors) - Strength/completeness of administrative controls - Sufficiency/formality of training - Other....