## Risk Assessment - Master Sheet
Activity-Based Risk Assessment Form
| Name of Department | SSLS |  | Location of Lab |  | Dewar Tank outside of main entrance of SSLS building
| Name of Laboratory | SSLS |  | Name of PI |  | Professor Mark B H Breese
| Name of Researcher/LO | Individual Beamline researchers |  | Name of Activity/Experiment |  | Extract liquid nitrogen from NOX liquid nitrogen tank
No | Description/Details of Steps in Activity | Hazards | Possible Accident / Ill Health & Persons-at-Risk | Existing Risk Control (Mitigation) | Severity | Likelihood (Probability) | Risk Level | Additional Risk Control | Person Responsible | By (Date)
1 | Request for permission to access into NOX liquid nitrogen tank area. Sign out key to unlock the NOX Dewar cage from person in-charge | SSLS student or staff working alone after office hours. No one will be around to assist when an accident occur | Bruises or cryogenic burns | Access into NOX liquid nitrogen tank area must be restricted after office hours. | 2 | 1 | 2
2 | Push individual beamline empty dewar cylinder to extraction point | Moving dewar cylinder along uneven surfaces may cause it to topple and fall onto nearby personnel | Bruises and bodily injuries | Do not push the empty beamline dewar cylinder on the top. Move it along flat surfaces if possible. | 1 | 1 | 1
3 | The NOX liquid nitrogen tank has an extraction tube connected to it. Insert the extraction tube into the empty beamline dewar cylinder | Nil | Nil | Nil
4 | Open valve of extraction tube to release liquid nitrogen into empty beamline dewar cylinder | Extraction tube dropped out of the beamline dewar cylinders while topping up. Liquid nitrogen may splash on to anyone near it. | Frost burn on body area | Ensure that no one is standing near the empty beamline dewar cylinder. Extraction tube must be fully inserted into the beamline dewar cylinder before opening valve. | 2 | 1 | 2
|  | Cold nitrogen gas rushing out from the opening of the empty beamline dewar cylinder while filling it with liquid nitrogen. Cold nitrogen gas may spray on to anyone standing directly above the opening. | Minor frost burn on body area | Ensure that no one is standing near the empty beamline dewar cylinder before opening the valve. | 1 | 1 | 1
|  | Beamline dewar overfilled with liquid nitrogen and spill occurs. Liquid nitrogen may spill onto personnal standing near beamline dewar cylinder. Possible spill onto exposure body parts like legs, feet and hands. | Frost burn on body area | No one should stand near the empty beamline dewar cylinder while it is being top up. Personnel should wear long pants, covered shoes and cryogenic gloves to prevent direct skin contact with liquid nitrogen. Standby to cut off the supply by closing valve. | 2 | 1 | 2
5 | Close valve fully | Valve got frozen jammed due to prolong exposure to low temperature. Forcefully turn handle of jammed valve in order to close it. | May result in bruises or laceration to hands | Training on how to prevent valve from being jammed during the topup. Process to be conducted during office hours so that experienced staffs are around to be of assistance. | 2 | 1 | 2
6 | Remove extraction tube from beamline dewar cylinder | Residual liquid nitrogen inside the extraction tube may splash onto nearby personnel when removing it | Frost burn on exposed skin. | Wear long pants, covered shoes and cryogenic gloves to prevent direct skin contact with liquid nitrogen. | 2 | 1 | 2
7 | Lock the NOX liquid nitrogen tank cage to prevent unauthorized access. Return key to person in-charge. | SSLS student or staff working alone after office hours. No one will be around to assist when an accident occur | Bruises or cryogenic burns | Access into NOX liquid nitrogen tank area must be restricted after office hours. | 2 | 1 | 2
8 | Push individual beamline dewar cylinder back to beamline | Liquid nitrogen splashing onto nearby personnel during transportation | Frost burn on body area | Ensure that filled dewar cylinder is sealed before pushing back to beamline. | 2 | 1 | 2
|  | Moving dewar cylinder along uneven surfaces may cause it to topple and fall onto nearby personnel | Bruises and bodily injuries | Do not push the beamline dewar cylinder on the top. Move it along flat surfaces if possible. | 1 | 1 | 1
| Conducted By | Li Zhiwang |  | Approved By
|  | Alaric Wong |  | Name |  | Professor Mark B H Breese
Signature
|  |  |  | Approval date |  | 2018-07-31 |  | Next Revision date | 2021-07-31
(Maximum 3 years)
Note on C3: Write Name of Your department
Note on C5: Write your laboratory name
Note on C7: Write the name of person conducting this experiment
Note on G3: Location of Lab e.g S9 # 05 - 04
Note on G5: Name of your professor/ guide
Note on G7: Name of the experiment e.g.. Distillation of THF
Note on G9: NUS: : (after consiideration of mitigation)
Note on I28: NUS: At least once every three (3) years or; When there is changes to work process or; Incident / Accident

## Risk Ranking - Guide
|  | Likelihood |  |  | Risk = Likelihood x Severity
|  | Likely | Possibly | Unlikely | RISK | DECISION PROCESS
Severity | Low | 3 | 2 | 1 | < 3 | RISK ACCEPTABLE
| Med | 6 | 4 | 2 | 3, 4 | CONSIDER ADDITIONAL RISK CONTROL
| High | 9 | 6 | 3 | > 4 | ADDITIONAL RISK CONTROL REQUIRED
Likelihood
| 1 | Unlikely |  | Not likely to occur (has not occurred in the PI's Lab or similar Lab setup.)
| 2 | Possible |  | Possible or known to occur (has occurred in the PI's Lab or Similar Lab setup.)
| 3 | Very Likely |  | Common or repeating occurrence (has occurred repetitively in the PI's Lab or similar Lab setup.)
Severity
| 1 | Low |  | (e.g. No injury, injury or ill-health requiring first aid treatment only - includes minor cuts and bruises, irritation, ill-health with temporary discomfort)
| 2 | Medium |  | (e.g. Injury requiring medical treatment or ill-health leading to disability – includes lacerations, burns, sprains, minor fractures, dermatitis, deafness, work-related upper limb disorders)
| 3 | High |  | (e.g. Fatal, serious injury or life-treatening occupational disease – includes amputations, major fractures, multiple injuries, occupational cancer, acute poisoning and fatal diseases)
Severity - Consider the magnitude/severity of the consequences of the Risk Factor occurring and then list this as 3 (High), 2 (Moderate) or 1 (Low). Severity normally will not change unless there is a physical change to the equipment or process.
Likelihood - Team should rely upon their experience and consider realistic scenarios. Listed below are examples of factors that may be considered in determining the likelihood. - Past experience / incidents - Complexity of the activity - Number of personnel involved in the activity (e.g. all personnel, a limited number of trained personnel, etc) - Frequency of use or execution - Degree of control (involvement of contractors) - Strength/completeness of administrative controls - Sufficiency/formality of training - Other....