## Risk Assessment - Master Sheet
Activity-Based Risk Assessment Form
| Name of Department | Singapore Synchrotron Light Source |  | Location of Lab |  | 5, Research Link, Singapore 117603
| Name of Laboratory | SUV Beamline |  | Name of PI |  | Prof. Mark B H Breese
| Name of Researcher/LO | Luis Rodriguez/Edwin Ong |  | Name of Activity/Experiment |  | Maintenance of PLD system
No | Description/Details of Steps in Activity | Hazards | Possible Accident / Ill Health & Persons-at-Risk | Existing Risk Control (Mitigation) | Severity | Likelihood (Probability) | Risk Level | Additional Risk Control | Person Responsible | By (Date)
Important! Users must wear special spectacles with the following minimum optical densities (OD): 1064 nm --> OD=6.1, 532 nm --> OD=6.8, 355 nm --> OD=2.2, and 266 nm --> OD=3.7
1 | Laser/optics alignment - alignment of laser beam spot - laser beam may not be 100% covered with the enclosure | Class 4 Laser hazard - Stray laser beams shinning into eyes of personnel nearby | Eye injury from laser beam. May cause permenant blindness | 1) Proper training conducted to ensure user does the alignment work safely 2) Only trained personnel with appropriate N3 licence are allowed to run the alignment. 3) Personal protective equipment (Laser goggles) should be worn at all times during alignment 4) Vicinity around the PLD laser system will be cordoned off. All personnel within laser system vicinity must wear laser goggles at all times. | 3 | 1 | 3
2 | Cleaning optics | Physical hazard - Cut by broken pieces of optics due to breakage during cleaning | Minor cuts to fingers and hands from handling broken optic pieces. | Proper training conducted to ensure user handles optics safely | 1 | 1 | 1
3 | Maintenance of laser cooling unit and cooling group radiator | Electrical hazard - Replenishing cooling water without powering down cooling unit | Electric shock or burns | 1) Ensure that cooling unit is powered OFF before commencing water replenishment 2) After water is filled in cooling unit, ensure that all other parts of the equipment and the surrounding area is free of water before turning on the power supply | 2 | 1 | 2
4 | Flash lamps replacement | Physical hazard - Cut by glasses from broken lamps due to breakage during replacement. | Cuts from broken flash lamps. | Proper training conducted to ensure user handles lamps safely | 1 | 1 | 1
5 | Venting of process chamber | Venting chamber with O2 gas instead of N2 gas. O2 gas may ignite upon contact with flame or heat source after opening of chamber. | Burns to skin | Proper training conducted to ensure user follow Safe Working Procedure | 2 | 1 | 2
6 | Main chamber bake out (100 - 150°C) | Physical hazard - Direct skin contact with heaters | Blisters and minor burns | 1) Place hazard labels around the system when baking out 2) Only trained personnel are allowed within vicinity of system during bakeout. | 2 | 1 | 2
7 | Target replacement | Physical hazard - Breakage of viewports during target replacement | Cuts from broken viewport glasses. | 1) Handle viewports with care. 2) Gloves should be worn | 1 | 1 | 1
|  | Physical hazard - Pumping down chamber with a cracked viewport may it to break and cause implosion. | Glass fragments cause by the implosion may fly out and cause lacerations to personnel nearby | Ensure that viewports are not cracked or damaged before mounting back onto system | 2 | 1 | 2
|  | Chemical hazard from handling of targets | Skin irritation due to direct contact between targets and skin | 1) Handle all targets with gloved hands. 2) SDS of target chemical identities should be consulted before handling the targets. | 1 | 1 | 1
| Conducted By | Luis Rodriguez |  | Approved By
|  | Edwin Ong |  | Name | Prof. Mark B H Breese
Signature
|  |  |  | Approval date |  | 2018-07-31 |  | Next Revision date | 2021-07-31
(Maximum 3 years)
Note on C3: Write Name of Your department
Note on G3: Location of Lab e.g S9 # 05 - 04
Note on C5: Write Name of Your department
Note on G5: Name of your professor/ guide
Note on G7: Name of the experiment e.g.. Distillation of THF
Note on G9: NUS: : (after consiideration of mitigation)
Note on I27: NUS: At least once every three (3) years or; When there is changes to work process or; Incident / Accident

## Risk Ranking - Guide
|  | Likelihood |  |  | Risk = Likelihood x Severity
|  | Likely | Possibly | Unlikely | RISK | DECISION PROCESS
Severity | Low | 3 | 2 | 1 | < 3 | RISK ACCEPTABLE
| Med | 6 | 4 | 2 | 3, 4 | CONSIDER ADDITIONAL RISK CONTROL
| High | 9 | 6 | 3 | > 4 | ADDITIONAL RISK CONTROL REQUIRED
Likelihood
| 1 | Unlikely |  | Not likely to occur (has not occurred in the PI's Lab or similar Lab setup.)
| 2 | Possible |  | Possible or known to occur (has occurred in the PI's Lab or Similar Lab setup.)
| 3 | Very Likely |  | Common or repeating occurrence (has occurred repetitively in the PI's Lab or similar Lab setup.)
Severity
| 1 | Low |  | (e.g. No injury, injury or ill-health requiring first aid treatment only - includes minor cuts and bruises, irritation, ill-health with temporary discomfort)
| 2 | Medium |  | (e.g. Injury requiring medical treatment or ill-health leading to disability – includes lacerations, burns, sprains, minor fractures, dermatitis, deafness, work-related upper limb disorders)
| 3 | High |  | (e.g. Fatal, serious injury or life-treatening occupational disease – includes amputations, major fractures, multiple injuries, occupational cancer, acute poisoning and fatal diseases)
Severity - Consider the magnitude/severity of the consequences of the Risk Factor occurring and then list this as 3 (High), 2 (Moderate) or 1 (Low). Severity normally will not change unless there is a physical change to the equipment or process.
Likelihood - Team should rely upon their experience and consider realistic scenarios. Listed below are examples of factors that may be considered in determining the likelihood. - Past experience / incidents - Complexity of the activity - Number of personnel involved in the activity (e.g. all personnel, a limited number of trained personnel, etc) - Frequency of use or execution - Degree of control (involvement of contractors) - Strength/completeness of administrative controls - Sufficiency/formality of training - Other....