## Risk Assessment - Master Sheet
Activity-Based Risk Assessment Form
| Name of Department | Singapore Synchrotron Light Source |  | Location of Lab |  | 5, Research Link, Singapore 117603
| Name of Laboratory | XDD beamline |  | Name of PI |  | Prof. Mark B H Breese
| Name of Researcher/LO | Dr Yang Ping |  | Name of Activity/Experiment |  | Sample preparation and characterization
No | Description/Details of Steps in Activity | Hazards | Possible Accident / Ill Health & Persons-at-Risk | Existing Risk Control (Mitigation) | Severity | Likelihood (Probability) | Risk Level | Additional Risk Control | Person Responsible | By (Date)
1 | Entering hutch | Exposure to radiation if gamma shutter inside the valve is not closed | May cause cancer and death | Safety interlock will ensure that gamma shutter will close whenever hutch door is opened | 3 | 1 | 3
|  | Hutch door railing along the door may cause tripping to personnel entering the hutch | Tripping and falling may cause bodily injury | Tripping hazard sign to warn users | 1 | 1 | 1
2 | Placement of sample to sample holder on machine | Standing under the Diffratometer arm while it is moving downwards | Hit by moving parts. May cause bruises. | Operation should only be done by Beamline-in-charge or trained personnel | 1 | 1 | 1
3 | Changing of sample adaptor | Sample adaptor dropping onto feet of personnel | May cause bruises to feet | Wear covered shoes to protect feet | 1 | 1 | 1
4 | Installation of hotplate | Sample adaptor dropping onto feet of personnel while removing it. | May cause bruises to feet | Wear covered shoes to protect feet | 1 | 1 | 1
5 | Heating of sample on the machine before experiment | Electrical shock from exposed wires connecting to heating device. | May cause minor shock | Periodic check on the wires to ensure that they are in good condition | 1 | 1 | 1
|  | Direct skin contact to holder and sample after they are heated up. Heater can heat up till 250oC | Minor burns to skin | “Hot surface” label to warn user | 2 | 1 | 2
6 | Personnel in the hutch or entering the hutch during characterization | During characterization, ionizing radiation is introduced into the hutch. Human inside the hutch or entering the hutch will be exposed to harmful radiation | Exposure to radiation may cause cancer | Engineering Controls: Characterization can only begin only after the "Search" procedure. An alarm will sound during the search procedure. Interlock will cut off radiation when door of hutch is open halfway through the characterization. | 3 | 1 | 3
7 | Sample characterization - Control of machine is done outside of hutch using computer | Radiation leaking from hutch during characterization of sample | Exposure to radiation may cause cancer | Long term staffs and students must wear TLD badge when conducting experiment. TLD will be sent to NEA for radiation monitoring every few month. Annual premise check are conducted to ensure no radiation leakage. | 3 | 1 | 3
8 | Maintenance (Lubrication of moving parts) | Standing under the Diffratometer arm while it is moving downwards | May cause bruises if hit by slow moving parts | Operation should only be done by Beamline-in-charge | 1 | 1 | 1
| Conducted By | Wong Wai Kong Alaric |  | Approved By
|  |  |  | Name | Prof. Mark B H Breese
Signature
|  |  |  | Approval date |  | 2018-07-31 |  | Next Revision date | 2021-07-31
(Maximum 3 years)
Note on C3: Write Name of Your department
Note on C5: Write Name of Your department
Note on C7: Write the name of person conducting this experiment
Note on G3: Location of Lab e.g S9 # 05 - 04
Note on G5: Name of your professor/ guide
Note on G7: Name of the experiment e.g.. Distillation of THF
Note on G9: NUS: : (after consiideration of mitigation)
Note on I27: NUS: At least once every three (3) years or; When there is changes to work process or; Incident / Accident

## Risk Ranking - Guide
|  | Likelihood |  |  | Risk = Likelihood x Severity
|  | Likely | Possibly | Unlikely | RISK | DECISION PROCESS
Severity | Low | 3 | 2 | 1 | < 3 | RISK ACCEPTABLE
| Med | 6 | 4 | 2 | 3, 4 | CONSIDER ADDITIONAL RISK CONTROL
| High | 9 | 6 | 3 | > 4 | ADDITIONAL RISK CONTROL REQUIRED
Likelihood
| 1 | Unlikely |  | Not likely to occur
| 2 | Possible |  | Possible or known to occur
| 3 | Very Likely |  | Common or repeating occurrence
Severity
| 1 | Low |  | (e.g. No injury, injury or ill-health requiring first aid treatment only - includes minor cuts and bruises, irritation, ill-health with temporary discomfort)
| 2 | Medium |  | (e.g. Injury requiring medical treatment or ill-health leading to disability – includes lacerations, burns, sprains, minor fractures, dermatitis, deafness, work-related upper limb disorders)
| 3 | High |  | (e.g. Fatal, serious injury or life-treatening, occupational disease – includes amputations, major fractures, multiple injuries, occupational cancer, acute poisoning and fatal diseases)
Severity - Consider the magnitude/severity of the consequences of the Risk Factor occurring and then list this as 3 (High), 2 (Moderate) or 1 (Low). Severity normally will not change unless there is a physical change to the equipment or process.
Likelihood - Team should rely upon their experience and consider realistic scenarios. Listed below are examples of factors that may be considered in determining the likelihood. - Past experience / incidents - Complexity of the activity - Number of personnel involved in the activity (e.g. all personnel, a limited number of trained personnel, etc) - Frequency of use or execution - Degree of control (involvement of contractors) - Strength/completeness of administrative controls - Sufficiency/formality of training - Other....